## 1. Hardware Sizing
VRAM SIZING: LLAMA-3-70B
Parameter | FP16 | INT4 | Note
Parameters (billions) | 70 | 70 | Llama-3-70B
Bytes per parameter (model weights) | 2 | 0.5 | FP16 = 2 bytes, INT4 = 0.5 bytes
Model size (GiB) | 130.3852 | 32.5963 | params * 1e9 * bytes_per_param / 1024^3
--- KV Cache (per request) ---
Layers | 80 | 80 | Llama-3-70B: 80 transformer layers
head_dim | 128 | 128 | hidden_size / num_heads = 8192 / 64 = 128
num_kv_heads | 8 | 8 | GQA: 8 KV-head groups
seq_len (tokens) | 2048 | 2048 | Average request ~ 2048 tokens
[TOGGLE] KV cache dtype (bytes per element) | 2 | 0.5 | CHANGE THIS: FP16=2, INT4=0.5 (recalculates below)
KV Cache per request (MiB) | 640 | 160 | 2 * layers * kv_heads * head_dim * seq_len * dtype / 1024^2
--- Throughput & Concurrency ---
Target RPM | 1000 | 1000 | Requirement
Target RPS | 16.6667 | 16.6667 | RPM / 60
Average latency (sec) | 2 | 2 | Typical for 70B model inference
Concurrency (simultaneous requests) | 33 | 33 | RPS * Latency (Little's Law)
KV Cache total (GiB) | 20.625 | 5.1562 | KV_per_request_MiB * concurrency / 1024
TOTAL VRAM (GiB) | 151.0102 | 37.7525 | Model_GiB + KV_total_GiB
GPU CATALOGUE
GPU | VRAM (GiB) | FP16 TFLOPS | Note
NVIDIA A100 80 GiB (SXM) | 80 | 312 | Best for 70B models
NVIDIA A100 40 GiB (PCIe) | 40 | 312 | VRAM-limited
NVIDIA T4 16 GiB | 16 | 65 | Budget, weak for 70B
NVIDIA L4 24 GiB | 24 | 121 | Inference-optimized
NVIDIA H100 80 GiB (SXM) | 80 | 990 | Top-tier performance
GPU REQUIREMENTS FOR 1000 RPM
Configuration | GPUs per replica | Replicas for 1000 RPM | Total GPUs | Note
FP16 on A100-80 GiB | 2 | 6 | 12 | Tensor Parallel across GPUs
FP16 on A100-40 GiB | 4 | 6 | 24 | Too many GPUs, inefficient
FP16 on L4-24 GiB | 7 | 6 | 42 | Very complex configuration
INT4 on A100-80 GiB | 1 | 4 | 4 | Fits on 1 GPU; 4 replicas enough
INT4 on L4-24 GiB | 2 | 5 | 10 | 2 GPUs in TP; 5 replicas
INT4 on T4-16 GiB | 3 | 6 | 18 | Low throughput; not recommended

## 2. Cloud Comparison
CLOUD COST COMPARISON
Yandex Cloud - GPU Instances (price per 1 GPU/hour)
GPU | VRAM (GiB) | Price (RUB/hr) | Price (USD/hr) | Note
NVIDIA A100 80 GiB | 80 | 538 | 5.9778 | gpu-standard-v3
NVIDIA T4 16 GiB | 16 | 134 | 1.4889 | g1/g2 series
NVIDIA L4 24 GiB | 24 | 201 | 2.2333 | Available in some zones
Cloud.ru (SberCloud) - GPU Instances (price per 1 GPU/hour)
GPU | VRAM (GiB) | Price (RUB/hr) | Price (USD/hr) | Note
NVIDIA A100 80 GiB | 80 | 490 | 5.4444 | ML Space / Evolution
NVIDIA T4 16 GiB | 16 | 120 | 1.3333 | Basic GPU instance
NVIDIA L4 24 GiB | 24 | 185 | 2.0556 | Inference-optimized
MONTHLY COST BY CONFIGURATION
Hours per month: | 730
Configuration | Num GPUs | Yandex Cloud (RUB/mo) | Cloud.ru (RUB/mo) | Difference (RUB) | Note
FP16, A100-80 GiB | 12 | 4712880 | 4292400 | 420480 | 2 GPU/replica x 6 replicas
INT4, A100-80 GiB | 4 | 1570960 | 1430800 | 140160 | 1 GPU/replica x 4 replicas - OPTIMUM
INT4, L4-24 GiB | 10 | 1467300 | 1350500 | 116800 | 2 GPU/replica x 5 replicas
INT4, T4-16 GiB | 18 | 1760760 | 1576800 | 183960 | Many GPUs, low throughput

## 3. Optimization
OPTIMIZATION: BATCHING & vLLM
Optimization techniques
Technique | Throughput gain | Cost reduction | Description
Continuous Batching | 2-4x | 50-75% | Batch requests dynamically; GPU util 30% -> 80%+
vLLM (PagedAttention) | 2-5x | 50-80% | Efficient KV Cache management; eliminates fragmentation
vLLM + Continuous Batching | 3-6x | 65-85% | Combined: PagedAttention + dynamic batching
Speculative Decoding | 1.5-2.5x | 30-60% | Draft model generates candidates, main verifies
INT4 quantization (GPTQ/AWQ) | 1.5-2x | 50-70% | 4x less VRAM; fewer GPUs needed
COST FORECAST WITH OPTIMIZATION (INT4, A100-80 GiB, Cloud.ru)
Cloud.ru A100 price (RUB/hr): | 490 | Hours/month: | 730
Scenario | Num GPUs | Cost (RUB/mo) | Savings vs Baseline
Baseline (no optimization) | 4 | 1430800 | ---
+ Continuous Batching | 3 | 1073100 | 25%
+ vLLM (PagedAttention) | 2 | 715400 | 50%
+ vLLM + Batching + INT4 | 2 | 715400 | 50%
KEY INSIGHT:
vLLM with PagedAttention + Continuous Batching allows serving 1000 RPM on just 2x A100-80 GiB (INT4) instead of 4x without optimization.
Savings: ~50% (~715,000 RUB/month on Cloud.ru).

## 4. Recommendation
FINAL RECOMMENDATION
Parameter | Recommendation
Model | Llama-3-70B INT4 (GPTQ or AWQ quantization)
GPU | NVIDIA A100 80 GiB (SXM)
GPUs per replica | 1 (model fits in 1 GPU at INT4)
Replicas (no optimization) | 4 replicas = 4 GPUs
Replicas (with vLLM) | 2 replicas = 2 GPUs
Inference Engine | vLLM with PagedAttention + Continuous Batching
Cloud provider | Cloud.ru (SberCloud) - ~9% cheaper vs Yandex Cloud
Cost/month (no optimization) | ~1,431,200 RUB (4x A100, Cloud.ru)
Cost/month (with vLLM) | ~715,600 RUB (2x A100, Cloud.ru)
Savings from optimization | ~50% (~715,600 RUB/month)
WHY INT4 + A100 + vLLM:
1. VRAM | INT4 ~ 32.6 GiB vs FP16 ~ 130.4 GiB (4x less)
2. GPUs | 1 GPU instead of 2 per replica -> fewer servers
3. Cost | 3x cheaper than FP16 configuration
4. Quality | INT4 (AWQ/GPTQ) quality loss <1% on benchmarks
5. Throughput | vLLM increases throughput 3-5x via PagedAttention